## size
Generator Sizing Chart
| Recorded Usage |  |  |  |  | Summer Needs |  | Winter Needs
Appliance | Starting Watts | Running Watts | Circuit Breaker | Need | S W | Starting Watts | Running Watts | Starting Watts | Running Watts
Total Generator Wattage Needed | [5 empty] | 4573.6 | 3198.6 | 0 | 0
Refrigerator (Store Room) | 720 | 200 |  | N | S | 520 | 200 | 0
Freezer (Store Room) | 975 | 200 |  | N | S | 775 | 200 | 0
Refrigerator (Kitchen) | 780 | 300 |  | N | S | 480 | 300 | 0
Internet Modem (Ham Shack) | 60 | 60 |  |  |  | 0 |  | 0
Network Router (Ham Shack) | 50 | 50 |  |  |  | 0 |  | 0
LCD Monitor (Ham Shack) | 30 | 30 |  |  |  | 0 |  | 0
Computer (Ham Shack) | 600 | 600 |  |  |  | 0 |  | 0
Radio Power Supply (Ham Shack) | 150 | 150 |  |  |  | 0 |  | 0
VHF/UHF Transceiver (Ham Shack) | 110 | 13.6 |  | N | S | 96.4 | 13.6 | 0
LED Light Bulbs 760 Lumens 2 ea | 20 | 20 |  |  |  | 0 |  | 0
Hot Plate (Kitchen) | 900 | 900 |  |  | S | 0 |  | 0
Microwave (Kitchen) | 1000 | 1000 |  |  | S | 0 |  | 0
Coffee Maker (Kitchen) | 1025 | 1025 |  |  | S | 0 |  | 0
Toaster Oven (Kitchen) | 1375 | 1375 |  | N | S | 1375 | 1375 | 0
LED Light Bulbs 760 Lumens 3 ea | 30 | 30 |  |  |  | 0 |  | 0
LED Light Bulbs 760 Lumens 4 ea | 40 | 40 |  | N | S | 40 | 40 | 0
LED Light Bulbs 760 Lumens 4 ea | 40 | 40 |  |  |  | 0 |  | 0
Iron (sewing Room) | 2200 | 1800 |  |  |  | 0 |  | 0
HT Charging Station (Ham Shack) | 10 | 10 |  |  |  | 0 |  | 0
Sewing Machine (Sewing Room) | 110 | 33 |  |  |  | 0 |  | 0
Laptop Computer | 250 | 250 |  |  |  | 0 |  | 0
Cell Phone Charger | 25 | 25 |  |  |  | 0 |  | 0
Ceiling Fan (Bedroom) | 70 | 70 |  | N | S | 70 | 70 | 0
Flat Screen TV (family Room) | 120 | 120 |  |  |  | 0 |  | 0
Ceiling Fan (Family Room | 70 | 70 |  |  |  | 0 |  | 0
Garage Door Opener | 2350 | 875 |  |  |  | 0 |  | 0
Window A/C Unit | 1300 | 1000 |  | N | S | 300 | 1000 | 0
Electric heater | 1300 | 1000 |  |  |  | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0
[6 empty] | 0 |  | 0 |  | `
[6 empty] | 0 |  | 0